USRP Receiver Front End
Testing Document
SuperDARN
Revision 2
## Revision History
Description	Revision	Date	Author
Initial Document – John Klein’s Board	2	6/25/2018	Bryant Klug
Added sweep test	2	9/12/2018	Bryant Klug

# Introduction
## Purpose
The following configurations are tested for noise: 1 amplifier, 2 amplifiers, 3 amplifiers, transmit path.

# Equipment List
- USRP Receiver Front End Board R2
- Power Supply
- Signal Generator
- Oscilloscope/Spectrum Analyzer
- 2 Female to Female SMA cables
- Jumpers
# Tests
## □ Visually inspect pads for shorts
	Short		Short
U403		U401
U412		U409
U410		U413
U411		U404
U402		U501
U408		U509
U503		U513
U512		U504
U510		U205
U511		U307
U502		U203
U508		Misc

## □ Check if power rails are shorted
	GND	GNDA	+3.3	VPP
GND
GNDA
+3.3
VPP

## □ Voltage Regulation
Measure 3.3 V rail ________
Measure VPP rail ________
## □ Test Receiver A Path
TR = LOW, Input Power = -40 dB, Attenuation = 31.5 dB
AMP1	AMP2	Output Power / [dBm]	Notes
0	0
1	0
0	1
1	1

## □ Test Receiver B Path
TR = LOW, Input Power = -40 dB, Attenuation = 31.5 dB
AMP1	AMP2	Output Power	Notes
0	0
1	0
0	1
1	1

## □ Test Receiver B Path
TR = LOW, Input Power = -40 dB, Attenuation = 31.5 dB
AMP1	AMP2	Output Power	Notes
0	0
1	0
0	1
1	1

## □ Test Receiver Sweep
Frequency	Receive Path B Power [dBm]	Notes
6 MHz
8 MHz
10 MHz
12 MHz
14 MHz
16 MHz
18 MHz
20 MHz
22 MHz